Questionnaire for the selection of a chiller unit

Name: 	                          _______________________________________________

Position: 		_______________________________________________

Company: 		_______________________________________________

Address: 	             _______________________________________________

E-mail:                           _______________________________________________

Phone number: 		_______________________________________________

  - Coolant

- water

- ethylene glycol, _____ %

- propylene glycol, _____ %

- CaCl2, _____ %

- other _________

  - Required temperature

  - coolant required temperature at the outlet of the chiller _____ °C

  - temperature of the coolant at the inlet of the chiller ______ °C

  - Required coolant flow through the chiller  _____ m3/h

or required chiller cooling capacity _____ kW

  - Condenser:

- Plate or shell and tube on the chiller frame

- Temperature of the liquid cooling the condenser  _____ °C

- Air condenser outside

- Region of installation  ______________

- Should we offer it

- Yes

- No

- Evaporative condenser outside

- Region of installation ______________

- Should we offer it

- Yes

- No

  - Preferred type of refrigerant

- R717 (ammonia)

- R22

- R507a

- R404a

- R134a

- Other (specify) _________

  - Oil cooling

- Water, glycol

- Refrigerant (thermosiphon)

  - Explosion-proof design

- yes

- no

  - Do you need a power board?

- yes

- no

  - Drive voltage (if clause 6 is "yes"), kV

- 0,4

- 6

- 10

  - Electric motor starting method (0.4 kV)

- Direct start

- Frequency regulation

- Soft starter

- Star-delta

  - Other requirements _______________________________________