Questionnaire for the selection of a refrigeration compressor unit:

- Preferred type of refrigerant

- R717 (ammonia)

- R22

- R507a

- R404a

- R134a

- Other (specify)________

- Cooling capacity _____ kW

- Operation mode

- boiling temperature _____ °C

- condensing temperature _____ °C

- Oil cooling

- water, glycol

- refrigerant (thermosiphon)

- Explosion-proof design

- yes

- no

- Do you need a power board?

- yes

- no

- Drive voltage (if clause 6 is "yes"), kV

- 0,4

- 6

- 10

- Electric motor starting method (0.4 kV)

- Direct start

- Frequency regulation

- Soft starter

- Star-delta

- Other requirements _______________________________________

The questionnaire was filled by

Name: 	                                       _______________________________________________

Position: 			_______________________________________________

Company: 			_______________________________________________

Address: 	              	_______________________________________________

E-mail:                                        _______________________________________________

Phone number: 			_______________________________________________