Questionnaire for the selection of a pump circulating stations

Name: 	                          _______________________________________________

Position: 		_______________________________________________

Company: 		_______________________________________________

Address: 	             _______________________________________________

E-mail:                           _______________________________________________

Phone number: 		_______________________________________________

  - Refrigerant

- R717 (ammonia)

- R22

- R507a

- R404a

- R134a

- another _________

  - System cooling capacity _________ kW

  - Boiling temperature _________  оС

  - Condensing temperature   _________  оС

  - Subcooling after the condenser _________ оС

  - The required refrigerant flow through the evaporator(s) _________ m3/hour

or the circulation rate _________

  - Required pressure in the pump discharge line _________ bar (g)

or required liquid column pump pressure _________ m

or height difference between the pump and the evaporators  _________ m

resistance of evaporators _________ bar

  - The length of the pump discharge pipeline _________ m

  - Amount of evaporators _________ pcs

  - Internal volume of one of the evaporators on the refrigerant side  _________ m3

  - Defrosting of method of the evaporators:

- hot gas

- other

  - Number of simultaneously defrosted evaporators _________ pcs

  - Control of system of the liquid level in the receiver:

- a sensor of continuous level control

- point level sensors

- floating level sensors

- without system of level control

  - Receiver feeding system:

- a motor expansion valve

- manual control valve

- pilot float and mechanical expansion valve

- without feeding system

  - Amount of refrigeration pumps

- one (working)

- two (1 working + 1 stand by)

  - Control board required

- yes

- no

  - Oil return system required

- yes

- no

  - Insulation required

- yes

- no

  - Other requirments  _________ __________________________________________________