Required information for selection of shell and tube gas cooler COOLTECH

Name: 	                          _______________________________________________

Position: 		_______________________________________________

Company: 		_______________________________________________

Address: 	             _______________________________________________

E-mail:                           _______________________________________________

Phone number: 		_______________________________________________

  - Name of cooled gas

- associated petroleum gas

- mixture of hydrocarbons

- other _________

  - Preferred refrigerant

- R717 (ammonia)

- R290 (propane)

- R22

- R507a

- R404a

- R134a

- Other _________

  - Mass flow rate ____________(kg/hr) or cooling capacity__________kW.

  - Inlet pressure _______________MPa (gauge).

  - Design inlet pressure (if there is an estimate) _______MPa.

  - Expected gas pressure drop through the evaporator _________kPa.

  - Gas inlet/outlet temperature_______________/______________°С.

  - Fouling resistance (if there is an estimate)___________m2K/W.

  - Required number of evaporators_________ pcs.

  - Is thermal insulation required?

- yes

- no

  - Other requirements _____________________________________________________________

__________________________________________________________________________________

  - Gas composition (mass or mole fractions), %

| № | Name of component | Fraction |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |
| 8 |  |  |
| 9 |  |  |
| 10 |  |  |
| 11 |  |  |
| 12 |  |  |
| 13 |  |  |
| 14 |  |  |
| 15 |  |  |
| 16 |  |  |
| 17 |  |  |
| 18 |  |  |
| 19 |  |  |
| 20 |  |  |

Example of gas composition (mass fractions)

| 1 | Nitrogen | 0,14086 |
| --- | --- | --- |
| 2 | CO2 | 0,000539 |
| 3 | Methane | 0,103464 |
| 4 | Ethane | 0,23899 |
| 5 | Propane | 0,26153 |
| 6 | i-Butane | 0,033826 |
| 7 | n-Butane | 0,053152 |
| 8 | i-Pentane | 0,0088 |
| 9 | n-Pentane | 0,008253 |
| 10 | n-Hexane | 0,000839 |
| 11 | Mcyclopentan | 0,0004578 |
| 12 | Benzene | 2,89E-05 |
| 13 | Cyclohexane | 0,0001168 |
| 14 | n-Heptane | 0,000367 |
| 15 | Mcyclohexane | 3,44E-05 |
| 16 | Toluene | 4,92E-06 |
| 17 | n-Octane | 4,30E-06 |
| 18 | H2O | 0,016 |
| 19 | EGlycol | 0,13273 |
| 20 | Oxygen | 0 |