Required information for selection of shell and tube / plate heat exchanger

Name: 	                          _______________________________________________

Position: 		_______________________________________________

Company: 		_______________________________________________

Address: 	             _______________________________________________

E-mail:                           _______________________________________________

Phone number: 		_______________________________________________

1 – either the exchanger duty or mass flow rate of one of the fluid is specified

|  | Dimension | Hot fluid | - Cold fluid |
| --- | --- | --- | --- |
| - Fluid name | - |  |  |
| Exchanger duty1 | kW |  |  |
| Mass flow rate (min/max)1 | kg / hr |  |  |
| Inlet temperature2 | С |  |  |
| Outlet temperature2 | С |  |  |
| Allowed pressure drop | kPa |  |  |
| Inlet pressure | MPa (gauge) |  |  |
| Design inlet pressure | MPa (gauge) |  |  |
| Fouling resistance | m2K/W |  |  |
| Specific heat capacity | J/kg-K |  |  |
| Density | kg/m3 |  |  |
| Thermal conductivity | W/m-K |  |  |
| Dynamic viscosity | Pa·s |  |  |

2 – the input and output temperature of one of the fluid is specified, and, if necessary, the input/output temperature of the second fluid

  - The hot stream is located on the

(only for shell and tube exchanges is specified):

- tubeside

- shellside

  - Heat Exchanger Type:

- Heater

- Cooler

- Recuperator

- Evaporator

- Condenser

  - The presence of hydrogen sulfide medium

- yes

- no

  - Corrosion activity of hot/cold fluid

- yes

- no

  - Is access to the inner surface of the tubes/shell required for mechanical cleaning?

(only for shell and tube exchanges is specified)

- yes

- no

  - Required number of heat exchanger_________pcs.

  - Is the thermal insulation required?

- yes

- no

  - Hot/cold fluid composition (mass or mole fractions), %

(specified for multicomponent fluids, if known)

| Name of component | Fraction |
| --- | --- |

Example of fluid composition (mass fractions, %):

| Carbon dioxide | 0,9 |
| --- | --- |
| Water | 82,1 |
| Ethanol | 16,94 |
| Isopropanol | 0,0085 |
| Methanol | 0,0073 |
| Diacetyl | 0,0051 |
| Propanol | 0,0082 |
| Acetone | 0,0083 |
| Acrolein | 0,0047 |
| Acetic acid | 0,0089 |
| Formic acid | 0,009 |

  - Other requirements ________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________